## Slide 1: Lab #1 Introduction and Orientation

## Slide 2: Purpose: Introduction & Orientation
Laboratory safety is the key to reducing injury and illness.
It is important to have proper training so students are aware of the potential dangers that may threaten their health or lives.
It is better to prevent than react to these dangers.

## Slide 3: Lab Safety Requirements
There are some safety regulations that GHC students must follow.
Each student must review the following documents:
  Rules of Conduct & General Lab Safety
  Emergency Procedures
  Risk Assessment Statement
Each student must sign the ‘Laboratory Safety Agreement’ and the ‘High-Risk Release Form’ provided in lab by the lab instructor.
Provide some information (Reference Guide Form) to serve as a quick reference in case any student needs to reach his/her instructor.

## Slide 4: A. Rules of Conduct & General Lab Safety Part I
Students are expected to read the appropriate sections of this manual before coming to lab and are also expected to follow instructions provided in each exercise.
Many microorganisms used in this course may be pathogenic for humans and animals. As a result, certain rules are necessary to avoid the possibility of infecting yourself and others.
The following laboratory safety procedures were adopted in 2015 by the American society for Microbiology, the Centers for Disease Control Biosafety Criteria for a Bio-safety Level 2 labs, and various state and federal laws.
Each point is considered essential for every microbiology lab.
***Anyone who chooses to disregard these rules or exhibits carelessness that endangers others may be subject to immediate dismissal from the laboratory. If doubt arises as to the procedure involved in handling infections material, consult the lab instructor.
*There will be random checks by lab safety personnel for compliance.

## Slide 5: A. Rules of Conduct & General Lab Safety Part II
Put on a lab coat upon entering the lab each lab period. Remove the ab coat if leaving the lab to prevent contamination.
Closed-toe shoes that completely cover the foot are required to attend microbiology lab.
Wash hands prior to and following lab
Disinfect your lab counter prior to and at the end of each lab.
Never eat. No gum or drink in the lab.
Never apply cosmetics, contact lenses or place objects in the mouth (no mouth pipetting) or touching your face.
Keep the lab as clean and neat as possible. Put extra books, purses, coats, etc. away from the work area.
Gloves are provided and should be worn while in the lab. If you leave the lab remove your gloves to prevent contaminating the environment or yourself

## Slide 6: A. Rules of Conduct & General Lab Safety Part III
Every student will be issued one pair of new safety glasses for your use. These should be worn at all times while in the lab.
All equipment should stay in the laboratory except when otherwise directed by your instructor.
Report any defects in your microscope or other equipment immediately to your Instructor.
Always start on low power for focusing and focus away from the specimen.
Follow all of the directions about use of the Bacti-cinerator units. Inform your lab neighbors when you turn yours on. Make sure no flammable liquids are nearby, such as ETOH or acid alcohol or phenol. Avoid aerosols.
NOTHING should be poured down the drain even if you feel it is safe. Remember if you wouldn’t drink it, it shouldn’t go down the drain.
All used cultures should be placed in the designated location for proper sterilization. Under no circumstances should used items be left in your drawer or placed directly in the trash. All biohazard material must be disposed of by authorized personnel.

## Slide 7: B. Emergency Procedures
Learn the location and operation of the first-aid kit, fire extinguisher, fire blanket, eye wash station, and chemical safety shower.
Report all spills and broken glassware to the instructor and receive instructions for cleanup.
Use the glass disposal box located in the front and back of the lab for all discarded glass; do not use anything else.
If a culture is spilled or broken, immediately cover with paper towels, and then saturate with bleach, report the accident to your instructor, and after 15 minutes, discard the paper towels in the container provided for contaminated materials.
Report any accident, injury or unusual event to the instructor, no matter how insignificant it may seem. An incident report may need to be filled out and filed.

## Slide 8: C. Risk Assessment Statement/ High-Risk Release Form Part I
Introduction to Medical Microbiology is a required course for many health-related career programs. The course curriculum is designed to give students experience in safe techniques for handling potentially infectious organisms, as will be expected in the pursuit of their careers. Just as with the chosen health career setting, the course requirements include various minimal but ever-present risks.
The Instructors will give you an opportunity to understand the full risks, identify conditions of greater than normal risks, and share the information with your doctors if you are in a group considered “high-risk” for infection. You will be able to make an informed choice as to the appropriateness of the course for you at this time.
Most of the lab exercises involve handling of living bacterial cultures, and many are part of normal flora.

## Slide 9: C. Risk Assessment Statement/ High-Risk Release Form Part II
Some of them could be opportunistic pathogens in debilitated individuals and high-risk populations such as the elderly, newborns, persons who have recently been through illness (e.g., HIV and/or chemotherapy patients), malnutrition, surgery, injury, or excess stress, pregnancy, all of which tend to lower the natural defense mechanisms of the body..
The microorganisms used in the lab exercises include Escherichia coli, Bacillus subtilis, Staphylococcus epidermidis, Mycobacterium smegmatis, Enterobacter aerogenes, Micrococcus luteus, Serratia marcescens, Proteus vulgaris, Staphylococcus aureus, Pseudomonas aeruginosa, and Citrobacter freundii. Two labs involve environmental cultures and body specimen samples which occasionally grow out organisms considered true pathogens, such as Streptococcus pyogenes.
Other organisms may be isolated from environmental or human sources during the course of the semester. Standard precautions should be followed with every specimen. All specimens might contain disease causing agents.

## Slide 10: C. Risk Assessment Statement/ High-Risk Release Form Part III
Students are expected to practice and learn appropriate methods of handling these organisms, and to respect their potential for pathogenicity. It is a direct violation of the principles in this course to encourage a situation which presents obvious risk.
If you are in one of the high-risk situations described above, please allow your doctors to read this letter and advise you of their opinion. If they agree that you should be allowed to take the course at this time under these circumstances, please have them send a written confirmation that they have read and evaluated this letter, the information found in your course syllabus, and clear you for the course.

## Slide 11: C. Risk Assessment Statement/ High-Risk Release Form Signature
“I have reviewed, and I understand the laboratory safety rules for this course. I understand that I can be dismissed from that day’s lab activity for not wearing proper shoes and clothing, or for not following proper safety procedures. I understand that repeated safety violations may result in dismissal from the rest of the laboratory exercises without the option to make up any missed laboratory grades”.
Please sign:
________________________________ Date:
Out of safety concerns, a student will not be allowed to participate in any laboratories if s/he cannot agree to this statement.

## Slide 12: Introduction to Lab Station Checklist Part I
Open the drawer at your lab station and take note of the contents. Place a check in the space beside each item to verify that you have all of your supplies. You are responsible for your lab area and the equipment you use for your lab activities. If anything is missing or used up during the term, let your lab instructor know immediately.
_____Inoculating loop
_____China marker and/or Sharpie
_____Test tube rack
_____Box of slides
_____ Lens paper
_____Bibulous paper

## Slide 13: Introduction to Lab Station Checklist Part II
_____Roll of labeling tape _____Paper towels
_____Slide holder (looks like bent tweezers)
_____Empty Slide Boxes
_____ Immersion oil
_____ Lens cleaning solution