## Slide 1: Lab#9: Acid-Fast Stains
Lab Preparatory Manual

## Slide 2: Set Up On Teacher’s Table
1 Bacti-cinerator
Inoculation loop
Paper towels
Acid-fast stain bottles:
  Carbol Fuchsin
  Acid-alcohol
  Methylene Blue
Staining Rack
Slide box

## Slide 3: Set Up On Teacher’s Table Continued
1 Hot Plate
Beaker 1000ml
2 Sterile Tongue -depressor
Freshly prepared stock culture:
  1TSB tube of Escherichia coli (E. coli)
  1TSA plate of Escherichia coli (E. coli)

## Slide 4: Set Up On Students’ Table
Each student should have on his/her table:
Bleach Bottles
Distilled Water Bottles
Tissue Papers
Bacti-cinerator
1 Hot plate
Microscope
Staining Rack
Acid-Fast stain bottles:
  Carbol Fuchsin
  Acid-alcohol
  Methylene Blue

## Slide 5: Set Up On Students’ Drawer
Check each student drawer and make sure everything is stock with:
Pack of lens paper
Pack of Bibulous paper
Green half test-tube rack
1 Oil immersion pen
Bottle of lens cleaner
Kim-wipe box
1 metal loop
1 Roll of color tape (color should match up with what the tape that is on the drawer door)
1 small box of cover slips
1 empty slide box
1 small box of glass slides

## Slide 6
All of these can be set on the mobile cart besides the Instructor’s table so students/faculty can grab as needed:
  1 Box Sterile Tongue-Depressor
  24 count 1000ml Beakers
  Freshly prepared culture media:
    12 TSB tubes and 12 TSA plates of Escherichia coli (E. coli)
    12 TSB tubes and 12 TSA plates of Bacillus subtilis (B. sub.)
    12 TSB tubes and 12 TSA plates of Staphylococcus epidermidis (S. epi.)
    12 TSB tubes and 12 TSA plates of Micrococcus lutea (M. lutea)
    12 TSB tubes and 12 TSA plates of Mycobacterium smegmatis (M. smeg)
    12 TSB tubes and 12 TSA plates of Serratia marcescens (S. marcescens)
Set Up On Side Table/Mobile Cart

## Slide 7
Take away the used auto-clave bags and set up 3 new bags at the back of the room.
Check collection-bottles of staining racks. Empty if needed before next lab.
Prepare unknown pure culture 25 tubes and 25 plates with all six specimens (Escherichia coli , Bacillus subtilis, Staphylococcus epidermidis, Micrococcus lutea, Mycobacterium smegmatis, Serratia marcescens ) for the Lab Skill Test.
  Make cheat sheet of unknown specimen for the Instructor.
Xerox hand-outs for lab skill test- 24
Preparation For Next Lab

## Slide 8
Preparation For Next Lab
Example Template for Lab Skill test Key

## Slide 9
Preparation For Next Lab
Example Template for Lab Skill test Key