## Slide 1: Lab#8: Gram Stains
Lab Preparatory Manual

## Slide 2: Set Up On Teacher’s Table
1 Bacti-cinerator
Inoculation loop
Paper towels
Gram stain bottles:
  Crystal violet
  Gram Iodine
  95% ETOH
  Safranin
Staining Rack
Slide box
Freshly prepared stock culture:
  1TSB tube of Escherichia coli (E. coli)
  1TSA plate of Escherichia coli (E. coli)

## Slide 3: Set Up On Students’ Table
Each student should have on his/her table:
Bleach Bottles
Distilled Water Bottles
Tissue Papers
Bacti-cinerator
Inoculation loop
Microscope
Staining Rack
Gram stain bottles:
  Crystal violet
  Gram Iodine
  95% ETOH
  Safranin

## Slide 4: Set Up On Students’ Drawer
Check each student drawer and make sure everything is stock with:
Pack of lens paper
Pack of Bibulous paper
Green half test-tube rack
1 Oil immersion pen
Bottle of lens cleaner
Kim-wipe box
1 metal loop
1 Roll of color tape (color should match up with what the tape that is on the drawer door)
1 small box of cover slips
1 empty slide box
1 small box of glass slides

## Slide 5
All of these can be set on the mobile cart besides the Instructor’s table so students/faculty can grab as needed:
  Freshly prepared culture media:
    12 TSB tubes and 12 TSA plates of Escherichia coli (E. coli)
    12 TSB tubes and 12 TSA plates of Bacillus subtilis (B. sub.)
    12 TSB tubes and 12 TSA plates of Staphylococcus epidermidis (S. epi.)
    12 TSB tubes and 12 TSA plates of Micrococcus lutea (M. lutea)
    12 TSB tubes and 12 TSA plates of Mycobacterium smegmatis (M. smeg)
    12 TSB tubes and 12 TSA plates of Serratia marcescens (S. marcescens)
Set Up On Side Table/Mobile Cart

## Slide 6
Take away the used auto-clave bags and set up 3 new bags at the back of the room.
Check Nitrite-Gloves of all sizes.
Have Acid-Fast stain bottles properly marked and ready to put out:
  Carbol Fuchsin
  Acid-alcohol
  Methylene Blue
Preparation For Next Lab