## Slide 1: Safety in the Microbiology Lab

## Slide 2: Aim
The microbiology lab
is a level II biosafety risk.
Procedures must be followed to prevent infection of workers within the lab, and exposure of contaminated materials and equipment to people outside the laboratory.
https://s3-us-west-2.amazonaws.com/courses-images/wp-content/uploads/sites/1094/2016/11/03164957/OSC_Microbio_13_01_BSLs.jpg

## Slide 3: Background
Potentially pathogenic microbes are used in lab exercises.
You must conduct yourself in a responsible manner.
Any spills, injuries etc. must be reported immediately.
No touching your mouth or eyes – no lip balm or makeup application
No excessive talking
Any illness leading to an immunocompromised state must be declared
  You must have your Doctors permission to return to the lab
  Any eye infections must be declared

## Slide 4: Background
Basic lab rules must be followed:
  Appropriate clothing (no hats, scarves or loose ties, high heals, open toed shoes) or lab coat must be worn
  Long hair must be tied up
  No eating or drinking in the lab
  No food, medications, lotions or makeup to enter the lab.
    Emergency medications (rescue inhalers and epi pens etc.) which must remain on your person should be cleared with the instructor.
    These may be double bagged to limit the risk of contamination.

## Slide 5: Materials
Inoculation loops, needles, swabs and spreaders
Bactcinerator or Bunsen burner
Decontamination agents, 70% ethanol, 10% bleach
Petri dishes and culture tubes
Transfer, Pasteur and serological pipettes
Pipette aids and micropipettors
Microscope
Incubators, refrigerators, freezers
Emergency shower and eye wash stations

## Slide 6: Protocol
Wash your hands upon entering and leaving the lab – soap for 20 secand physical scrubbing to perform degerming.
Sterilize your bench with 70% ethanol
Work with a tidy organized bench – all coats and bags to be placed in lockers outside the lab.
All work is to be carried out standing at the bench – stools should be tucked beneath the bench.
Listen to all instructions carefully and ask question prior to starting work.
Keep talking to a minimum and at a low level, excessive noise is distracting.
Ask for help immediately

## Slide 7: Protocol
Waste disposal.
Items leaving the micro lab must be sterilized in the autoclave.
All contaminated disposable PLASTIC waste goes in a BIOHAZARD BAG.
All culture tubes must be securely capped for disposal in Biohazard bins.
All plates must be stacked and taped together for disposal in Biohazard bins.
Glass culture tubes are placed in tube racks at back of lab for autoclaving.
All non-contaminated GLASS waste goes in the GLASS BOX.
All non-contaminated waste (usually paper towels, sterile wrappers) goes in domestic waste bin (trash can).

## Slide 8: Protocol
Large volume waste disposal (above 10 mL)
  Add 10% bleach and decontaminate for 20 min.
  Autoclave at 121oC for 20 min
  Decant into drain with running water.
Culture spill decontamination
  If skin and eyes are exposed alert co-workers and move to emergency eye wash or shower.
  Remain under running water for a minimum of 10min while the situation is assessed by supervisor.
  For surface spills, apply absorbent towel to the area and soak in 10% bleach. Decontaminate for 20 mins. Remove all towel to biohazard bag and autoclave at 121oC for 20 min. Dispose of waste in trash bin.

## Slide 9: Images
Transfer pipettes:
This Photo by Unknown Author is licensed under CC BY-NC-ND
Micro pipettors:
This Photo by Unknown Author is licensed under CC BY-SA-NC
Spreader, inoculating needle and loop: This Photo by Unknown Author is licensed under CC BY-SA
Culture media:
This Photo by Unknown Author is licensed under CC BY-SA-NC
Bactcinerator:
This Photo by Unknown Author is licensed under CC BY-SA-NC

## Slide 10: Conclusions
Work carefully and safely at all times.
Follow all hand washing rules and basic lab rules.
Follow protocols exactly and work in an organized manner at your bench.
Always keep culture tubes in racks and do not tip them horizontally to spill the culture into the cap.
Ensure that all equipment is sterile/decontaminated.
Follow all biohazard waste disposal correctly.
Know the risks associated with your lab and follow all the rules.
If in doubt ask a supervisor for clarification.

## Slide 11: TROUBLESHOOTING
Spills:
Stop working. Secure any material that you were using. Alert workers around you and follow the clean up procedure immediately.
Contamination:
If a culture looks contaminated do not remove the lid. Send to the autoclave as any unknow is potentially pathogenic.
Equipment:
Treat all equipment with care, it is expensive and damage will result in a loss of precision and may endanger workers.