## Slide 1: Viable Count

## Slide 2: Aim
Viable count experiments are used to determine the number of LIVE bacterial cells in a sample.
Comparisons of cell density or turbidity will also measure the presence of any dead cells in a culture.
You may need to quantify the number of living cells in a sample so that you may remove a set number of cells to use in another experiment.
  E.g. Antibiotic resistance challenge
You may need to be able to count the number of cells after growth conditions have been altered and compare to the number of cells in a control culture.
  E.g. to quantify the effect of changing environmental pressures.

## Slide 3: Background
The viable count technique may be performed using different protocols.
These usually all involve a step in which the culture to be assessed is diluted and samples removed for plating on agar.
Dilution is performed so that the number of cells plated will for isolated colonies which are within a countable range.
The plates are incubated overnight and then the number of resultant colony forming units (c.f.u.) counted.
Any dilution factor used prior to plating will then be used to multiple the number of counted c.f.u. and a cell concentration produced with units of cfu/mL.
Types of plating methods include
  Miles and Misra plates
  Spread plates
  Pour plates.

## Slide 4: Materials
Sample of organism
Sterile nutrient broths for dilution
Sterile nutrient agar plates
Serological and micropipettes for diluting and plating cultures
Alturnatively
  Spreaders for pour plates
  Incubator to keep agar molten for pour plates
Bactcinerator for aseptic technique
Biohazard waste bags

## Slide 5: Overview
This Photo by Unknown Author is licensed under CC BY-NC-ND
Count colonies
This Photo by Unknown Author is licensed under CC BY-SA-NC
Dilute original sample

## Slide 6: Protocol
Viable count using serial dilution and spread plates.
A serial dilution is a stepwise dilution of the sample using the same factor each time e.g. 10-fold dilution, 5-fold dilution or 2-fold dilution in a series
Sample culture is serially diluted into equal volumes of sterile broth.
  When starting with an unknown number of cells several dilutions should be performed to ensure that a countable number of colonies result at the end of the procedure.
A fixed volume of sample from each dilution is then plated onto agar.
A sterile spreader is used to push the cell sample over the entire surface area of the plate to separate cells for growth.
Plates are incubated 18-24 H at 37oC (or appropriate temperature for the original sample).
Plates which grow between 30 and 100 cfu are counted and the cell concentration of the original sample is calculated taking into account any dilutions that were made for each plate.
Units are always cfu/mL

## Slide 7: Results
This Photo by Unknown Author is licensed under CC BY-SA-NC
Count the cfu on each plate.
Work back through the steps of the experiment to determine any dilutions and multiple back up by the same factor.
E.g count = 71 colonies on an agar plate.
1 ml from the 10mL diluted sample was plated on the agar therefore, this is a 1/10 dilution and you should multiply by a factor of 10.
71 x 10 = 710
The diluted sample from the original which produced 71 colonies was a 1/1000 dilution and thus you should ALSO multiple by 1000 to determine how many cells were in the original.
710 x1000 = 710,000 cfu/mL in original sample
10 fold serial dilution

## Slide 8: Images
This Photo by Unknown Author is licensed under CC BY-SA-NC
https://www.mdpi.com/1851970
This Photo by Unknown Author is licensed under CC BY
Miles and Misra plating, each spot is 10 µL of a diluted sample. Dilutions are shown in scientific notation 1x10-1 to 1x10-4.

## Slide 9: Conclusions
Samples must be diluted first in order to produce isolated countable colonies on a solid agar media.
Dilution is usually perform by serial dilution in which a culture is repeated diluted by the same factor.
The number of counted colonies must be multiplied by all dilution factors used to produce the counted plate.
The viable count must be expressed in cfu/mL

## Slide 10: Application
Viable counts are used to determine the number of living cells in a sample.

## Slide 11: Troubleshooting
Pipetting errors:
  Serial dilution must be performed accurately
  Pipetting errors during dilution will lead to errors in the number of cfu plated.
  Practice pipetting with a micropipette or serological pipette.
To check for pipetting dilution errors:
  The set of plates should display numbers of colonies decreasing approximately by the factor of dilution using.
To improve accuracy of the viable count:
  Each dilution should be plated in duplicate or triplicate and the results averaged.